## About
BTaDLP BAU Transmission and Distribution Loss Percentage
Source: | NITI Aayog - 2019 onward | CEA - Actual values - 2016 to 2018
| 2015 | 2019-09-01
| India Energy Security Scenarios v2 | Monthly Executive Summary report
| http://iess2047.gov.in/ | http://www.cea.nic.in/reports/monthly/executivesummary/2019/exe_summary-09.pdf
| Sheet VIIb | Table 11
Note:
This variable represents the percentage difference in generation
and delivered energy from the power system.
IESS Level 2 trajectory values are used as they are BAU.
Only technical T&D losses are considered (India also has commercial losses under AT&C which is not accounted in EPS)
Beyond 2047 (IESS model limit) the slope is extended as per the downward trend as even current world's best values are as low as 2-3%

## Calcs
Calcs
2016 | 0.2181 |  |  | Trajectory assumptions
2017 | 0.2142
2018 | 0.2104 | 2018 | 0.2104 |  | T&D- Technical Losses | [11 empty] | %
2019 | 0.20405 | 2022 | 0.185
2020 | 0.1977 |  |  |  | Trajectory | Description | Notes | 2007 | 2012 | 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047 | 2052
2021 | 0.19135 |  |  |  | 1 |  |  | 24.67% | 22.69% | 21.5% | 20.54% | 19.58% | 18.71% | 17.9% | 16.61% | 15.94% | 15.52%
2022 | 0.185 |  |  |  | 2 |  |  | 24.67% | 22.69% | 20.8% | 18.5% | 16.8% | 15.1% | 13.4% | 11.2% | 10% | 10%
2023 | 0.1816 |  |  |  | 3 |  |  | 24.67% | 22.69% | 18.5% | 15.6% | 12.2% | 10.5% | 9.4% | 8.3% | 7.2% | 7.2%
2024 | 0.1782 |  |  |  | 4 |  |  | 24.67% | 22.69% | 16.8% | 13.9% | 11.6% | 8.8% | 8% | 7.2% | 7.2% | 6.9%
2025 | 0.1748 |  |  |  | Chosen |  |  | 24.67% | 22.69% | 20.8% | 18.5% | 16.8% | 15.1% | 13.4% | 11.2% | 10% | 10%
2026 | 0.1714
2027 | 0.168
2028 | 0.1646
2029 | 0.1612
2030 | 0.1578
2031 | 0.1544
2032 | 0.151
2033 | 0.1476
2034 | 0.1442
2035 | 0.1408
2036 | 0.1374
2037 | 0.134
2038 | 0.1296
2039 | 0.1252
2040 | 0.1208
2041 | 0.1164
2042 | 0.112
2043 | 0.1096
2044 | 0.1072
2045 | 0.1048
2046 | 0.1024
2047 | 0.1
2048 | 0.0976
2049 | 0.0952
2050 | 0.0928

## BTaDLP
Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Trans and Dist Loss Perc (dimensionless) | 0.2181 | 0.2181 | 0.2142 | 0.2104 | 0.20405 | 0.1977 | 0.19135 | 0.185 | 0.1816 | 0.1782 | 0.1748 | 0.1714 | 0.168 | 0.1646 | 0.1612 | 0.1578 | 0.1544 | 0.151 | 0.1476 | 0.1442 | 0.1408 | 0.1374 | 0.134 | 0.1296 | 0.1252 | 0.1208 | 0.1164 | 0.112 | 0.1096 | 0.1072 | 0.1048 | 0.1024 | 0.1 | 0.0976 | 0.0952 | 0.0928