## About
CpUDSC Cost per Unit Distributed Solar Capacity
Sources: | Cost Scaling | Benchmark Capital Costs
| NITI Aayog, Government of India | Ministry of New & Renewable Energy
| 2015 | 2019
| India Energy Security Scenarios 2047 downloadable Excel model | Benchmark costs for Grid Connected Rooftop Solar Power Plants for the Year 2019- 20
| http://indiaenergy.gov.in/iess/docs/IESS_Version2.2.xlsx | https://mnre.gov.in/sites/default/files/uploads/benchmark%20cost%202019-20%20%281%29.pdf
Tab IV.e
| Solar DC to AC Derate Value | O&M Costs
| Jens Schoene, EnerNex | Karnataka Electricity Regulatory Commission
| 2015 | 2019
| Production Levels of Utility-Scale and Residential-Scale PV Systems | Generic Tariff Order for Solar PV Plants (Ground Mounted & Solar Rooftop PV) for FY19
| http://brattle.com/system/publications/pdfs/000/005/188/original/Comparative_Generation_Costs_of_Utility-Scale_and_Residential-Scale_PV_in_Xcel_Energy_Colorado's_Service_Area.pdf?1436797265 | https://bescom.org/wp-content/uploads/2018/06/OMNew-SRTPV-tariff-for-entering-into-PPAs-from-01.04.2018-to-31.03.2019.pdf
| This document is included as Appendix B of a report by Brattle Group. | Table 2(b), Page 22
Page 10 of the EnerNex report (Page 70 of the PDF)
Share of Costs that are Soft Costs
NREL
2018
U.S. Solar Photovoltaic System Cost Benchmark: Q1 2018
https://www.nrel.gov/docs/fy17osti/68925.pdf
Page viii, Figure ES-2
Notes
We assume solar capacities are reported in DC, as is typical when most sources
report distributed solar PV capacities. Accordingly, we convert to AC using an
appropriate derate factor.
We use scaling factors from IESS's level 2 trajectory to project future costs.
Since IESS was developed in 2015-16 and PV module costs have declined
substantially since then, we estimate the base year cost from the most
recent benchmark costs from MNRE.
Benchmark (capital) costs are available for systems ranging residential,
commercial, and industrial scales. We take an average of residential and
commercial scales for the buildings sector.
O&M costs are estimated from a representative tariff order from a
state electricity regulator. They are not included in the cost calculation but
available here for future reference.

## India Data
Benchmark costs for Grid Connected Rooftop Solar Power Plants for the Year 2019- 20
| Capacity | Capital (Installation) Cost
Residential | 1-10 kW | 54000 | INR/kW
Commercial | 10-100 kW | 48000
Industrial | 100-500 kW | 45000
| Average | 51000
|  | 51000000 | INR/MW
Source: MNRE, 2019
O&M Cost
|  | 600 | INR/kW
|  | 600000 | INR/MW
Source: KERC, 2019
Total Cost |  | 51600000 | INR/MW

## India Calcs
Capital cost of a 0.0001 GW solar plant
Trillion INR
|  | Delta | 2007 | 2012 | 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Low estimate |  |  |  | 1e-05 | 8e-06 | 7.04e-06 | 6.5472e-06 | 6.2198e-06 | 5.971e-06 | 5.7919e-06 | 5.6761e-06
Point estimate |  | 0 |  | 1e-05 | 9e-06 | 8.52e-06 | 8.2736e-06 | 8.1099e-06 | 7.9855e-06 | 7.896e-06 | 7.838e-06
High estimate |  |  |  | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05
5yr decline rate |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yearly decline rate |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2018-19 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Cap Cost (INR/MW DC) | 51000000 | 51000000 | 51000000 | 51000000 | 51000000 | 51000000 | 51000000
Cap Cost (INR/MW AC) | 59371362.0489 | 59371362.0489 | 59371362.0489 | 59371362.0489 | 59371362.0489 | 59371362.0489 | 59371362.0489
Currency Conversion (for data sources, see scaling-factors.xlsx)
India Inflation Rates
Year | 2018-19: Rate; 2022: Value Indexed to 2012
2010 | 2018-19: 9.47%; 2022: 0.8447
2011 | 2018-19: 6.49%; 2022: 0.89952
2012 | 2018-19: 11.17%; 2022: 1
2013 | 2018-19: 9.13%; 2022: 1.0913
2014 | 2018-19: 5.86%; 2022: 1.1553
2015 | 2018-19: 6.32%; 2022: 1.2283
2016 | 2018-19: 2.23%; 2022: 1.2557
2017 | 2018-19: 4%; 2022: 1.3059
2018 | 2018-19: 5.24%; 2022: 1.3743
2019 | 2018-19: 7.37%; 2022: 1.4756; 2027: (2019 value is a current average, as Dec. vs. Dec Inflation rate is not available at the time of data updation)
Rupees per dollar
2010 | 2018-19: 44.81
2011 | 2018-19: 53.26
2012 | 2018-19: 54.77
2013 | 2018-19: 61.89
2014 | 2018-19: 63.33
2015 | 2018-19: 66.32
2016 | 2018-19: 67.95
2017 | 2018-19: 63.92
2018 | 2018-19: 68.6573
| 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Cap Cost (2012USD/MW) | 734628.4883 | 734628.4883 | 734628.4883 | 734628.4883 | 734628.4883 | 734628.4883 | 734628.4883
Transposed:
2017 | 2018-19: 734628.4883
2022 | 2018-19: 734628.4883
2027 | 2018-19: 734628.4883
2032 | 2018-19: 734628.4883
2037 | 2018-19: 734628.4883
2042 | 2018-19: 734628.4883
2047 | 2018-19: 734628.4883
Interpolated:
2017 | 2018-19: 734628.4883
2018 | 2018-19: 734628.4883
2019 | 2018-19: 734628.4883
2020 | 2018-19: 734628.4883
2021 | 2018-19: 734628.4883
2022 | 2018-19: 734628.4883
2023 | 2018-19: 734628.4883
2024 | 2018-19: 734628.4883
2025 | 2018-19: 734628.4883
2026 | 2018-19: 734628.4883
2027 | 2018-19: 734628.4883
2028 | 2018-19: 734628.4883
2029 | 2018-19: 734628.4883
2030 | 2018-19: 734628.4883
2031 | 2018-19: 734628.4883
2032 | 2018-19: 734628.4883
2033 | 2018-19: 734628.4883
2034 | 2018-19: 734628.4883
2035 | 2018-19: 734628.4883
2036 | 2018-19: 734628.4883
2037 | 2018-19: 734628.4883
2038 | 2018-19: 734628.4883
2039 | 2018-19: 734628.4883
2040 | 2018-19: 734628.4883
2041 | 2018-19: 734628.4883
2042 | 2018-19: 734628.4883
2043 | 2018-19: 734628.4883
2044 | 2018-19: 734628.4883
2045 | 2018-19: 734628.4883
2046 | 2018-19: 734628.4883
2047 | 2018-19: 734628.4883
2048 | 2018-19: 734628.4883
2049 | 2018-19: 734628.4883
2050 | 2018-19: 734628.4883

## Soft Cost Data
Solar PV
Solar PV Type | Non-Hardware Cost %
Residential | 63%
Commercial | 56%
Utility-Scale | 35%
For distributed PV on buildings, we use the average
of residential and commercial soft cost shares.
Buildings | 59.5%

## AC DC Derate Factor
Watts DC are lower than Watts AC, but AC is needed to either sell to the grid or to power devices in homes.
Therefore, we convert to the cost per Watt AC using a derate factor:
0.859 | DC to AC derate factor

## CpUDSC-totalcost
Unit: $/MW | Distributed Solar Cap Cost ($/MW)
2017 | 734628.4883
2018 | 734628.4883
2019 | 734628.4883
2020 | 734628.4883
2021 | 734628.4883
2022 | 734628.4883
2023 | 734628.4883
2024 | 734628.4883
2025 | 734628.4883
2026 | 734628.4883
2027 | 734628.4883
2028 | 734628.4883
2029 | 734628.4883
2030 | 734628.4883
2031 | 734628.4883
2032 | 734628.4883
2033 | 734628.4883
2034 | 734628.4883
2035 | 734628.4883
2036 | 734628.4883
2037 | 734628.4883
2038 | 734628.4883
2039 | 734628.4883
2040 | 734628.4883
2041 | 734628.4883
2042 | 734628.4883
2043 | 734628.4883
2044 | 734628.4883
2045 | 734628.4883
2046 | 734628.4883
2047 | 734628.4883
2048 | 734628.4883
2049 | 734628.4883
2050 | 734628.4883

## CpUDSC-softcosts
Unit: $/MW | Distributed Solar Soft Costs
2017 | 437103.9505
2018 | 437103.9505
2019 | 437103.9505
2020 | 437103.9505
2021 | 437103.9505
2022 | 437103.9505
2023 | 437103.9505
2024 | 437103.9505
2025 | 437103.9505
2026 | 437103.9505
2027 | 437103.9505
2028 | 437103.9505
2029 | 437103.9505
2030 | 437103.9505
2031 | 437103.9505
2032 | 437103.9505
2033 | 437103.9505
2034 | 437103.9505
2035 | 437103.9505
2036 | 437103.9505
2037 | 437103.9505
2038 | 437103.9505
2039 | 437103.9505
2040 | 437103.9505
2041 | 437103.9505
2042 | 437103.9505
2043 | 437103.9505
2044 | 437103.9505
2045 | 437103.9505
2046 | 437103.9505
2047 | 437103.9505
2048 | 437103.9505
2049 | 437103.9505
2050 | 437103.9505