## About
DRC BAU Demand Response Capacity
DRC Potential Additional Demand Response Capacity
DRC Hours of DR Average Utility May Call Upon per Year
DRC Average DR Hours per DR Event
Sources: | Trends for BAU DR capacity till 2019 | Demand response potential in 2030 by end-uses
| Tata Power Delhi Distribution Limited (TPDDL) | Climate Policy Initiative
| 2015 | 2020
| Smart Grid Journey | Developing a roadmap to a flexible, low‐carbon Indian electricity system
| https://www.tatapower-ddl.com/UploadedDocuments/Presentation%20for%20USTDA%20Workshop%20250202015%20Ver%202.pdf | https://www.climatepolicyinitiative.org/wp-content/uploads/2020/08/CPI-India-flexibility-25-August-2020-full-report-1.pdf
| Page 21 | Figure 3.4
Trends for peak electricity demand till 2019
Central electricity Authority
2018
National Electricity Plan (from 19th EPS)
http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf
Table 4.1
Electricity consumption across sectors
Ministry of Statistics and Programme Implementation
2018
Energy Statistics 2018
http://mospi.nic.in/sites/default/files/publication_reports/Energy_Statistics_2018.pdf
Table 6.9
Notes for India version
Demand response is defined as the potential to reduce or shift electricity usage during peak
periods in response to time-based rates or other financial incentives.
A case study of the TPDDL, CEA peak demand projections, and the percentage of demand from industrial and commercial sectors
in total electricity demand were used to estimate the 2019 base year DR capacity (based on the percentage reduction in peak demand in the TPDDL study).
That was scaled for future BAU projections as per the growth in peak demand output of EPS.
An estimate from a CPI report was used for the 2030 potential DR capacity, and the potential between 2019 and 2030 was scaled linearly.
Between 2030 and 2050, the rest of the potential is scaled by growth in peak demand (EPS output).
The clalculations extend the approach that was followed in the EPS 3.1 version of this file and extends the values up to 2070
A part of the extension involves using peak demand values that were output from EPS. Therefore, this file will have to updated post calibration.
Have used the minimum hours or demand respond hours during demand response event (1 hour) as India currently has very limited capacity to implement demand response

## India calcs
Demand response is a fairly new initiative in India and we lack resources that directly offer long-term demand response projections.
However, there have been several pilot programs for demand response across several locations and sectors.
We can attempt to scale up the demand response from these pilot programs for an approximation
| Estimated Base | CPI-Mid Range Potential |  |  |  | CPI Potentials (GW) (2030) |  | Low | Mid* | High
Year | 2019 | 2030 |  |  |  | (for ~600 GW peak load) |  | 40 | 77.5 | 180
DR Capacity (MW) | 922 | 77500
* EPS peak is ~400 GW in 2030, so we assume the mid range estimate of CPI
which is against a higher (~600 GW) peak in 2030
However, we adjust to remove the contribution from EV charging, which
is calculated separately in the EPS.
Time (Time) | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak Hour Electricity Demand by Season[summer] : MostRecentRun | 162417 | 161230 | 174773 | 185487 | 195731 | 205399 | 214078 | 222460 | 231463 | 243188 | 255060 | 266853 | 282041 | 297497 | 313255 | 328972 | 344356 | 359267 | 373991 | 389229 | 404542 | 419785 | 434919 | 449155 | 461626 | 473803 | 485708 | 497094 | 508145 | 518988 | 529610 | 539807
Peak Hour Electricity Demand by Season[winter] : MostRecentRun | 146544 | 144093 | 154638 | 162791 | 169782 | 176290 | 182072 | 187784 | 193901 | 200803 | 207926 | 214997 | 225052 | 235281 | 246160 | 256970 | 267780 | 278181 | 288508 | 299929 | 311352 | 322904 | 334325 | 345221 | 354663 | 363924 | 373016 | 381915 | 390538 | 399059 | 407410 | 415558
Source: CPI Report, Figure 3.4
Previous BDRC
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
DR Capacity (MW) | 677 | 922 | 915 | 992 | 1053 | 1111 | 1166 | 1216 | 1263 | 1314 | 1381 | 1448 | 1515 | 1601 | 1689 | 1779 | 1868 | 1955 | 2040 | 2123 | 2210 | 2297 | 2383 | 2469 | 2550 | 2621 | 2690 | 2758 | 2822 | 2885 | 2947 | 3007 | 3065 | 3171.6061 | 3244.4882 | 3328.2712 | 3408.5498 | 3489.9515 | 3571.5332 | 3653.002 | 3734.0113 | 3814.0237 | 3892.5431 | 3969.4663 | 4045.504 | 4120.4925 | 4194.2533 | 4267.8515 | 4341.4697 | 4415.3247 | 4489.4719 | 4563.9003 | 4638.5843
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
Potential Additional DR Capacity (MW) | 0 | 0 | 6968 | 13853 | 20754 | 27657 | 34564 | 41476 | 48390 | 55301 | 62196 | 69090 | 75985 | 82860 | 89734 | 96606 | 103479 | 110353 | 117230 | 124108 | 130983 | 137858 | 144733 | 151608 | 158489 | 165380 | 172272 | 179166 | 186063 | 192962 | 199862 | 206764 | 213667 | 220115.1023 | 227361.5673 | 234235.7378 | 241113.2079 | 247989.4088 | 254865.2901 | 261741.0865 | 268617.2069 | 275494.1994 | 282372.5061 | 289252.2977 | 296132.8794 | 303014.3669 | 309897.0128 | 316779.7083 | 323662.3499 | 330544.7488 | 337426.8817 | 344308.729 | 351190.4089

## references
LinkedIn article on demand response | https://www.linkedin.com/pulse/demand-response-potential-challenges-solutions-indian-ajay-yadav/

## DRC-BDRC
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
DR Capacity (MW) | 677 | 922 | 915 | 992 | 1053 | 1111 | 1166 | 1216 | 1263 | 1314 | 1381 | 1448 | 1515 | 1601 | 1689 | 1779 | 1868 | 1955 | 2040 | 2123 | 2210 | 2297 | 2383 | 2469 | 2550 | 2621 | 2690 | 2758 | 2822 | 2885 | 2947 | 3007 | 3065 | 3171.6061 | 3244.4882 | 3328.2712 | 3408.5498 | 3489.9515 | 3571.5332 | 3653.002 | 3734.0113 | 3814.0237 | 3892.5431 | 3969.4663 | 4045.504 | 4120.4925 | 4194.2533 | 4267.8515 | 4341.4697 | 4415.3247 | 4489.4719 | 4563.9003 | 4638.5843

## DRC-PADRC
Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070
Potential Additional DR Capacity (MW) | 0 | 0 | 6968 | 13853 | 20754 | 27657 | 34564 | 41476 | 48390 | 55301 | 62196 | 69090 | 75985 | 82860 | 89734 | 96606 | 103479 | 110353 | 117230 | 124108 | 130983 | 137858 | 144733 | 151608 | 158489 | 165380 | 172272 | 179166 | 186063 | 192962 | 199862 | 206764 | 213667 | 220115.1023 | 227361.5673 | 234235.7378 | 241113.2079 | 247989.4088 | 254865.2901 | 261741.0865 | 268617.2069 | 275494.1994 | 282372.5061 | 289252.2977 | 296132.8794 | 303014.3669 | 309897.0128 | 316779.7083 | 323662.3499 | 330544.7488 | 337426.8817 | 344308.729 | 351190.4089

## DRC-ADRHpDRE
Unit: hours | Hours per Event
DR Hours per DR Event | 1