## About
CpUDSC Cost per Unit Distributed Solar Capacity
Sources: | Cost Scaling | Benchmark Capital Costs
| NITI Aayog, Government of India | Ministry of New & Renewable Energy
| 2015 | 2019
| India Energy Security Scenarios 2047 downloadable Excel model | Benchmark costs for Grid Connected Rooftop Solar Power Plants for the Year 2019- 20
| http://indiaenergy.gov.in/iess/docs/IESS_Version2.2.xlsx | https://mnre.gov.in/sites/default/files/uploads/benchmark%20cost%202019-20%20%281%29.pdf
Tab IV.e
| Solar DC to AC Derate Value | O&M Costs
| Jens Schoene, EnerNex | Karnataka Electricity Regulatory Commission
| 2015 | 2019
| Production Levels of Utility-Scale and Residential-Scale PV Systems | Generic Tariff Order for Solar PV Plants (Ground Mounted & Solar Rooftop PV) for FY19
| http://brattle.com/system/publications/pdfs/000/005/188/original/Comparative_Generation_Costs_of_Utility-Scale_and_Residential-Scale_PV_in_Xcel_Energy_Colorado's_Service_Area.pdf?1436797265 | https://bescom.org/wp-content/uploads/2018/06/OMNew-SRTPV-tariff-for-entering-into-PPAs-from-01.04.2018-to-31.03.2019.pdf
| This document is included as Appendix B of a report by Brattle Group. | Table 2(b), Page 22
Page 10 of the EnerNex report (Page 70 of the PDF)
Share of Costs that are Soft Costs
NREL
2018
U.S. Solar Photovoltaic System Cost Benchmark: Q1 2018
https://www.nrel.gov/docs/fy17osti/68925.pdf
Page viii, Figure ES-2
Notes
We assume solar capacities are reported in DC, as is typical when most sources
report distributed solar PV capacities. Accordingly, we convert to AC using an
appropriate derate factor.
We use scaling factors from IESS's level 2 trajectory to project future costs.
Since IESS was developed in 2015-16 and PV module costs have declined
substantially since then, we estimate the base year cost from the most
recent benchmark costs from MNRE.
Benchmark (capital) costs are available for systems ranging residential,
commercial, and industrial scales. We take an average of residential and
commercial scales for the buildings sector.
O&M costs are estimated from a representative tariff order from a
state electricity regulator. They are not included in the cost calculation but
available here for future reference.

## India Data
Benchmark costs for Grid Connected Rooftop Solar Power Plants for the Year 2019- 20
| Capacity | Capital (Installation) Cost
Residential | 1-10 kW | 54000 | INR/kW
Commercial | 10-100 kW | 48000
Industrial | 100-500 kW | 45000
| Average | 51000
|  | 51000000 | INR/MW
Source: MNRE, 2019
O&M Cost
|  | 600 | INR/kW
|  | 600000 | INR/MW
Source: KERC, 2019
Total Cost |  | 51600000 | INR/MW

## India Calcs
Capital cost of a 0.0001 GW solar plant
Trillion INR
|  | Delta | 2007 | 2012 | 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Low estimate |  |  |  | 1e-05 | 8e-06 | 7.04e-06 | 6.5472e-06 | 6.2198e-06 | 5.971e-06 | 5.7919e-06 | 5.6761e-06
Point estimate |  | 0 |  | 1e-05 | 9e-06 | 8.52e-06 | 8.2736e-06 | 8.1099e-06 | 7.9855e-06 | 7.896e-06 | 7.838e-06
High estimate |  |  |  | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05
5yr decline rate |  |  |  |  | -0.1 | -0.053333 | -0.02892 | -0.019786 | -0.015339 | -0.011214 | -0.0073329
Yearly decline rate |  |  |  |  | -0.02 | -0.010667 | -0.005784 | -0.0039572 | -0.0030679 | -0.0022428 | -0.0014666
| 2018-19 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Cap Cost (INR/MW DC) | 51000000 | 49368000 | 47940268.169 | 46991730.4225 | 46270911.2676 | 45752025.7746 | 45416531.9718
Cap Cost (INR/MW AC) | 59371362.0489 | 57471478.4633 | 55809392.5134 | 54705157.6514 | 53866020.102 | 53261962.485 | 52871399.2687
Currency Conversion (for data sources, see scaling-factors.xlsx)
India Inflation Rates
Year | 2018-19: Rate; 2022: Value Indexed to 2012
2010 | 2018-19: 9.47%; 2022: 0.8447
2011 | 2018-19: 6.49%; 2022: 0.89952
2012 | 2018-19: 11.17%; 2022: 1
2013 | 2018-19: 9.13%; 2022: 1.0913
2014 | 2018-19: 5.86%; 2022: 1.1553
2015 | 2018-19: 6.32%; 2022: 1.2283
2016 | 2018-19: 2.23%; 2022: 1.2557
2017 | 2018-19: 4%; 2022: 1.3059
2018 | 2018-19: 5.24%; 2022: 1.3743
2019 | 2018-19: 7.37%; 2022: 1.4756; 2027: (2019 value is a current average, as Dec. vs. Dec Inflation rate is not available at the time of data updation)
Rupees per dollar
2010 | 2018-19: 44.81
2011 | 2018-19: 53.26
2012 | 2018-19: 54.77
2013 | 2018-19: 61.89
2014 | 2018-19: 63.33
2015 | 2018-19: 66.32
2016 | 2018-19: 67.95
2017 | 2018-19: 63.92
2018 | 2018-19: 68.6573
| 2017 | 2022 | 2027 | 2032 | 2037 | 2042 | 2047
Cap Cost (2012USD/MW) | 734628.4883 | 711120.3767 | 690554.6418 | 676891.4487 | 666508.4235 | 659034.1477 | 654201.5339
Transposed:
2017 | 2018-19: 734628.4883
2022 | 2018-19: 711120.3767
2027 | 2018-19: 690554.6418
2032 | 2018-19: 676891.4487
2037 | 2018-19: 666508.4235
2042 | 2018-19: 659034.1477
2047 | 2018-19: 654201.5339
Interpolated:
2017 | 2018-19: 734628.4883
2018 | 2018-19: 729926.866
2019 | 2018-19: 725225.2437
2020 | 2018-19: 720523.6213
2021 | 2018-19: 715821.999
2022 | 2018-19: 711120.3767
2023 | 2018-19: 707007.2297
2024 | 2018-19: 702894.0827
2025 | 2018-19: 698780.9358
2026 | 2018-19: 694667.7888
2027 | 2018-19: 690554.6418
2028 | 2018-19: 687822.0032
2029 | 2018-19: 685089.3646
2030 | 2018-19: 682356.726
2031 | 2018-19: 679624.0873
2032 | 2018-19: 676891.4487
2033 | 2018-19: 674814.8436
2034 | 2018-19: 672738.2386
2035 | 2018-19: 670661.6336
2036 | 2018-19: 668585.0285
2037 | 2018-19: 666508.4235
2038 | 2018-19: 665013.5683
2039 | 2018-19: 663518.7132
2040 | 2018-19: 662023.858
2041 | 2018-19: 660529.0028
2042 | 2018-19: 659034.1477
2043 | 2018-19: 658067.6249
2044 | 2018-19: 657101.1021
2045 | 2018-19: 656134.5794
2046 | 2018-19: 655168.0566
2047 | 2018-19: 654201.5339
2048 | 2018-19: 653235.0111
2049 | 2018-19: 652268.4883
2050 | 2018-19: 651301.9656

## Soft Cost Data
Solar PV
Solar PV Type | Non-Hardware Cost %
Residential | 63%
Commercial | 56%
Utility-Scale | 35%
For distributed PV on buildings, we use the average
of residential and commercial soft cost shares.
Buildings | 59.5%

## AC DC Derate Factor
Watts DC are lower than Watts AC, but AC is needed to either sell to the grid or to power devices in homes.
Therefore, we convert to the cost per Watt AC using a derate factor:
0.859 | DC to AC derate factor

## CpUDSC-totalcost
Unit: $/MW | Distributed Solar Cap Cost ($/MW)
2017 | 734628.4883
2018 | 729926.866
2019 | 725225.2437
2020 | 720523.6213
2021 | 715821.999
2022 | 711120.3767
2023 | 707007.2297
2024 | 702894.0827
2025 | 698780.9358
2026 | 694667.7888
2027 | 690554.6418
2028 | 687822.0032
2029 | 685089.3646
2030 | 682356.726
2031 | 679624.0873
2032 | 676891.4487
2033 | 674814.8436
2034 | 672738.2386
2035 | 670661.6336
2036 | 668585.0285
2037 | 666508.4235
2038 | 665013.5683
2039 | 663518.7132
2040 | 662023.858
2041 | 660529.0028
2042 | 659034.1477
2043 | 658067.6249
2044 | 657101.1021
2045 | 656134.5794
2046 | 655168.0566
2047 | 654201.5339
2048 | 653235.0111
2049 | 652268.4883
2050 | 651301.9656

## CpUDSC-softcosts
Unit: $/MW | Distributed Solar Soft Costs
2017 | 437103.9505
2018 | 434306.4853
2019 | 431509.02
2020 | 428711.5547
2021 | 425914.0894
2022 | 423116.6241
2023 | 420669.3017
2024 | 418221.9792
2025 | 415774.6568
2026 | 413327.3343
2027 | 410880.0119
2028 | 409254.0919
2029 | 407628.1719
2030 | 406002.2519
2031 | 404376.332
2032 | 402750.412
2033 | 401514.832
2034 | 400279.252
2035 | 399043.672
2036 | 397808.092
2037 | 396572.512
2038 | 395683.0731
2039 | 394793.6343
2040 | 393904.1955
2041 | 393014.7567
2042 | 392125.3179
2043 | 391550.2368
2044 | 390975.1558
2045 | 390400.0747
2046 | 389824.9937
2047 | 389249.9126
2048 | 388674.8316
2049 | 388099.7506
2050 | 387524.6695