## About
NSDoNCC Normalized Std Dev of New Capital Costs
Source: | Coal, Natural Gas Nonpeaker, Nuclear, Wind, Solar Thermal, Geothermal
Congressional Research Service
2008
Power Plants: Characteristics and Costs
https://www.fas.org/sgp/crs/misc/RL34746.pdf
p. 76-91
Solar PV
Berkeley Lab
2018
Utility-Scale Solar Empirical Trends in Project Technology, Cost, Performance, and PPA Pricing in the United States
https://emp.lbl.gov/utility-scale-solar
Hydro, Natural Gas Peaker, Petroleum, Biomass
Energy and Environmental Economincs
2014
Capital Cost Review of Power Generation Technologies
https://www.wecc.biz/Reliability/2014_TEPPC_Generation_CapCost_Report_E3.pdf
Tables 2, 6, 8, 9, 11, 12, 15, 16, 22, 26, and 28
Notes:
Where possible, we use published costs to estimate the normalized standard deviation for new
unit capital costs. The CRS study contains published values for coal, natural gas combined cycle (nonpeakers)
nuclear, onshore wind, solar thermal, solar PV, and geothermal. However, given the small sample size (2) for
solar PV and the availability of data published by NREL, we use data from the Berkeley Lab to
calculate values for solar PV. For the remaining power plant types, we use reported project costs
aggregated in a report by Energy and Environmental Economics (E3) as the basis for calculating the
standard deviation of capital costs for new projects. No data was available for petroleum-fired power plants,
so we assume these units have the same distribution of costs as the natural gas peaker plants.
We use onshore wind ranges for offshore wind and we assume the coal values apply to both hard coal
and lignite.

## CRS
Power Plant Quality | Cost per kW | Source
hard coal | 2857 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2083 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate | 0.11768
hard coal | 2433 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2499 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2250 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 3073 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2571 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2440 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
hard coal | 2467 | p.76-78, Pulverized Coal Projects Selected for Cost Estimate
nuclear | 5746 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 4260 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 3670 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 2865 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 3200 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 3596 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 3108 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 4540 | p.79-81, Nuclear Projects Selected for Cost Estimate
nuclear | 4387 | p.79-81, Nuclear Projects Selected for Cost Estimate
natural gas nonpeaker | 1085 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1097 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1167 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1277 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1100 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1409 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
natural gas nonpeaker | 1017 | p.82-83, Combined Cycle Projects Selected for Cost Estimate
wind | 2000 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 2152 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 2439 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 1806 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 1500 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 2313 | p.84-85, Wind Projects Selected for Cost Estimate
wind | 2535 | p.84-85, Wind Projects Selected for Cost Estimate
geothermal | 2500 | p.87, Geothermal Projects Selected for Cost Estimate
geothermal | 3429 | p.87, Geothermal Projects Selected for Cost Estimate
geothermal | 2847 | p.87, Geothermal Projects Selected for Cost Estimate
geothermal | 3906 | p.87, Geothermal Projects Selected for Cost Estimate
solar thermal | 3725 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3000 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3107 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3906 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3610 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3000 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3000 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 4000 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar thermal | 3571 | p.89-90, Solar Thermal Projects Selected for Cost Estimate
solar PV | 7143 | p.91, Solar Photovoltaic (PV) Projects Selected for Cost Estimate
solar pv | 5961 | p.91, Solar Photovoltaic (PV) Projects Selected for Cost Estimate

## E3 Data
Capital Costs ($/kW) | Coal (table 2) | natural gas nonpeaker (tables 8 and 9) | nuclear (table 11) | hydro (table 12, excluding outlier) | wind (table 28) | solar pv (table 22) | solar thermal (table 26) | biomass (table 15) | petroleum (n/a) | geothermal (table 16) | natural gas peaker (table 6)
| 3683 | 884 | 9125 | 4196 | 2340 | 3180 | 6120 | 4436 |  | 4767 | 1185
| 3683 | 1016 | 8689 | 3669 | 1867 | 3990 | 8833 | 5357 |  | 7347 | 1199
| 2542 | 1262 | 5692 | 3289 | 1978 | 2180 | 6120 | 4520 |  | 7085 | 1174
| 3045 | 1364 | 6380 | 687 | 2287 | 2630 | 11179 | 4395 |  | 7778 | 1510
| 4104 | 1026 | 10971 | 7529 | 2408 |  | 6454 | 5560 |  | 5041 | 1212
| 3060 | 1344 | 5483 |  | 1933 |  | 6891 | 3060 |  | 7214 | 1369
| 3104 | 1145 | 8913 |  | 2648 |  | 7669 | 4080 |  | 5666 | 1041
| 3514 | 1363 | 7358 |  | 2455 |  | 9331 | 3458 |  | 9822 | 1271
|  | 785 |  |  | 2514 |  | 8765 | 8169 |  | 4692 | 1436
|  | 1251 |  |  | 1530 |  | 8714 | 3765 |  | 7395
|  | 988 |  |  | 2040 |  | 9180 | 6402 |  | 4974
|  | 1185 |  |  | 2016 |  | 6012 | 4081 |  | 6137
|  | 1209 |  |  | 2218 |  | 7956 |  |  | 10123
|  | 1202 |  |  | 2453 |  | 8262 |  |  | 4415
|  | 1279 |  |  | 1887 |  |  |  |  | 14356
|  | 1232 |  |  | 2321 |  |  |  |  | 5759
966
1202
St Dev | 493.8431 | 168.4641 | 1921.9896 | 2449.6902 | 299.5224 | 779.2518 | 1515.5888 | 1417.62 | n/a | 2604.4072 | 146.6816
Normalized St Dev | 0.14777 | 0.14647 | 0.24558 | 0.63234 | 0.13734 | 0.26018 | 0.19032 | 0.29697 | n/a | 0.37017 | 0.11583

## PV
Figure 10. Installed Price of Utility-Scale PV by Mounting Type and Installation Year
Units: 2017 Real $/W-AC
Installation Year | Fixed-Tilt Projects |  |  |  | Tracking Projects |  |  |  | All PV Sample
| Median Price | Capacity-Weighted Average | 20th Percentile | 80th Percentile | Median Price | Capacity-Weighted Average | 20th Percentile | 80th Percentile | Median Price | Capacity-Weighted Average | Project Count | Project MW-AC
2007-2009 | 3.9144 | 3.6813 | 3.5203 | 4.3085 | 8.1495 | 7.6011 | 7.213 | 9.086 | 6.5886 | 6.212 | 5 | 74.9
2010 | 4.8009 | 4.2158 | 3.8722 | 5.3046 | 6.4447 | 6.1902 | 5.5702 | 7.6304 | 5.1027 | 4.7205 | 10 | 175.07
2011 | 4.4752 | 4.4039 | 3.7439 | 5.0041 | 4.4638 | 4.5203 | 4.0082 | 5.0515 | 4.4752 | 4.4587 | 29 | 427.79
2012 | 3.6277 | 3.4226 | 3.1746 | 4.3981 | 4.1904 | 4.3311 | 4.1299 | 4.6547 | 4.1385 | 3.7833 | 40 | 914.794
2013 | 3.6689 | 3.7613 | 3.0239 | 4.2974 | 3.8316 | 4.1061 | 3.4008 | 4.3726 | 3.6931 | 3.9503 | 38 | 1343.789
2014 | 3.1238 | 3.8124 | 2.6209 | 3.9764 | 3.2276 | 3.7884 | 2.5954 | 4.232 | 3.1315 | 3.8026 | 64 | 3166.3595
2015 | 2.51 | 2.4663 | 2.0306 | 3.2453 | 2.9247 | 3.4136 | 2.3256 | 3.5695 | 2.8108 | 3.1306 | 87 | 2869.682
2016 | 2.2669 | 2.8626 | 1.8996 | 3.244 | 2.3375 | 2.3039 | 2.037 | 2.8705 | 2.3336 | 2.4161 | 157 | 7468.994
2017 | 2.0492 | 2.0044 | 1.8867 | 2.1449 | 1.9231 | 2.0601 | 1.6098 | 2.2362 | 1.9952 | 2.0423 | 76 | 2303.19
Notes: "All PV" sample includes PV projects with hybrid tracking technologies and CPV projects
|  | mean | 2.0044
|  | x value | 2.1449
|  | standard deviation | 0.16732
|  | z-score of 80 percentile | 0.84
|  | normalized standard deviation | 0.083476

## NSDoNCC
Electricity Source | Norm St Dev of New Capital Costs (dimensionless)
hard coal | 0.11768
natural gas nonpeaker | 0.11586
nuclear | 0.22952
hydro | 0.63234
onshore wind | 0.17425
solar pv | 0.083476
solar thermal | 0.11955
biomass | 0.29697
geothermal | 0.63234
petroleum | 0.11586
natural gas peaker | 0.37017
lignite | 0.11768
offshore wind | 0.17425
crude oil | 0.11586
heavy or residual fuel oil | 0.11586
municipal solid waste | 0.29697