## About
SYC Start Year Electricity Generation Capacity
SYC Fraction of Peakers that Provide Flexibility Points
Source: | Installed Capacities by Plant Type | Large Hydro Capacity by type
| Central Electricity Authority | Central Electricity Authority
| Monthly Installed Capacity Reports (archives) | Monthly Hydro Reports (archives)
| Dec 2017 | Dec 2017
| http://www.cea.nic.in/reports/monthly/installedcapacity/2017/installed_capacity-12.pdf | http://www.cea.nic.in/reports/monthly/hydro/2017/hydro_stations-12.pdf
| Peaking gas capacity | Pumped hydro
| Central Electricity Authority - National Electricity Plan (NEP) Volume 1 | Central Electricity Authority
| 2018 | 2019-09-01
| http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf | Pumped Storage Development in India
| Pp 8.5 | http://www.cea.nic.in/reports/monthly/hydro/2019/pump_storage-09.pdf
Notes
In the India EPS, the geothermal plant type is repurposed as pumped hydro capacity.
Natural gas open cycle plants and pumped hydro are included as peaking plants .
No solar thermal or offshore wind capacity existed in 2017.
No lignite plants were operational in 2017.
It is assumed that all peaking plants provide flexibility points.
Diesel is accounted in petroleum subscript of EPS.
Waste to energy is accounted under Municipal Solid Waste.
Hydro includes large, small, and pumped storage.
As per CEA's NEP, of the monitored natural gas based capacity in March 2017, 350 MW is open cycle which is suited for peaking.
As official data has no detailed breakdown of liquid fuel plants,
Crude Oil and Residual Fuel Oil types are assumed to be accounted for in Diesel subscript.

## Calcs
Capacity as on 31.12.2018 (MW)
| Coal | 192971.5
| Gas | 25150.38
| Diesel | 837.63
| Nuclear | 6780
| Hydro | 44963.42
| Small Hydro | 4418.15
| Wind | 32848.46
| Biomass/Cogen | 8413.8
| Waste to energy | 114.08
| Solar | 17052.41
| Total | 333549.83
| Lignite | 0
| Peaking gas | 350

## CEA-Data
pp 6.19
http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf
pp 8.5
http://www.cea.nic.in/reports/committee/nep/nep_jan_2018.pdf
Installed Capacity, 2017, Source-wise
http://www.cea.nic.in/reports/monthly/installedcapacity/2017/installed_capacity-12.pdf
Installed Large Hydro Capacity, 2017, by type
http://www.cea.nic.in/reports/monthly/hydro/2017/hydro_stations-12.pdf

## Pumped storage
PUMPED STORAGE DEVELOPMENT IN INDIA
(Installed Capacity above 25 MW)
As on 30.09.2019
Installed Capacity
S.No. | SCHEMES | no. of units X unit size (MW) | MW | Remarks
A. Schemes Constructed
a) Working in pumping mode
1 | Nagarjuna Sagar -Telangana | 7x100.80 | 705.6
2 | Kadamparai -T.N | 4x100 | 400
3 | Bhira -Mah. | 1x150 | 150
4 | Srisailam LBPH -Telangana | 6x150 | 900
5 | Purlia PSS -W.B. | 4x225 | 900
6 | Ghatgar -Mah. | 2x125 | 250
|  | Working tot. | 3305.6
A. Schemes under construction
1 | Tehri St.-II -Uttarakhand | 4x250 | 1000 | Likely commissioning by 2021-23 (June’22)
2 | Koyna Left Bank -Mah. | 2x40 | 80 | Likely commissioning by 2022-23
3 | Kundah Pump Storage (Stage I,II,II&IV)-T. N | 4x 125 | 500 | Likely commissioning by 2022-23

## SYC-SYEGC
Start Year Capacities (MW) | preexisting | preexisting nonretiring (not used in U.S. dataset) | newly built
hard coal | 192971.5 | 0 | 0
natural gas nonpeaker | 24800.38 | 0 | 0
nuclear | 6780 | 0 | 0
hydro | 49381.57 | 0 | 0
onshore wind | 32848.46 | 0 | 0
solar PV | 17052.41 | 0 | 0
solar thermal | 0 | 0 | 0
biomass | 8413.8 | 0 | 0
geothermal | 3305.6 | 0 | 0
petroleum | 837.63 | 0 | 0
natural gas peaker | 350 | 0 | 0
lignite | 0 | 0 | 0
offshore wind | 0 | 0 | 0
crude oil | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0
municipal solid waste | 114.08 | 0 | 0

## SYC-FoPtPFP
Peakers that Provide Flexibility Points (dimensionless)
Fraction | 0.5