## About
WUbPPT Water Use by Power Plant Type
Source: | Water Use in India's Power Generation | Govt. notification for installing cooling-tower technology in thermal plants
| 2018 | 2015
| IRENA, WRI | Ministry of Environment, Forests & Climate Change (MoEFCC)
| https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2018/Jan/IRENA_power_water_2018_methodology.pdf?la=en&hash=C1726E07286F34010EB878321F72C471F0C4427C | https://web.archive.org/web/20180127113125/http://www.moef.nic.in/sites/default/files/draft%20Notification%20forinviting%20the%20public%20comments%20for%20the%20Coal%20BTPP.pdf
| Water Use in India's Power Generation: Impact of Renewables and Improved Cooling Technologies to 2030 | (MoEFCC link broken, accessed in web archives)
Tables 2, 3; page 5-6
Values for Reference year of 2014
Notes
We use a source which consolidates the withdrawal and consumption values for India
from India-specific estimates and expert consultation, for the base year of 2014.
The report classifies the withdrawal and consumption values by cooling technology
type. Hence, we estimate average values weighted by the cooling technology type
for each generation source.
India's MoEFCC has issued a notification in 2015 for all plants using once-through
water cooling technologies to transition to fully cooling-tower (recirculating)
technology by 2017, which has much lesser water intensity.
We assume 'Oil' source to correspond to liquid fossil fuel sources in EPS i.e.
petroleum, crude oil, and heavy residual fuel.
We assume consumption by MSW to be same as biomass.
Wind and hydro sources are typically assumed to have negligible
water usage and hence assigned values of zero.
Only freshwater is considered, for consistency across all sources,
even though nuclear plants use seawater in once-through technology.
In the India EPS, the geothermal plant type is repurposed as pumped hydro capacity.
Conversion Factors
liters per cubic m
1000

## India data
Table 2. Intensity of water consumption and withdrawal by source of energy |  |  |  | Average (weighted by cooling type) |  |  | Table 3. Proportion and estimated adoption of cooling technologies to 2030
Source of energy and cooling type | Fresh water withdrawal (m3/MWh) (2014) | Fresh water consumption (m3/MWh) (2014) | Cooling type % within freshwater | Source of energy | Fresh water withdrawal (m3/MWh) (2014) | Fresh water consumption (m3/MWh) (2014) | Water source | Source of energy | Cooling type | % share in generation (2014)
Biomass - dry | 0.13 | 0.13 | 4.9 | Biomass | 3.1637 | 1.994 | Freshwater | Biomass | Dry | 4.9
Biomass - recirculating | 3.32 | 2.09 | 95.1 | Coal | 18.2138 | 2.4973 |  |  | Recirculating | 95.1
Coal - dry | 0.31 | 0.31 | 0.98901 | Gas | 1.3543 | 0.98092 |  | Coal | Dry | 0.9
Coal - once-through | 216 | 1.56 | 6.8132 | Nuclear | 88.7277 | 2.9945 |  |  | Once-through | 6.2
Coal - recirculating | 3.79 | 2.59 | 92.1978 | Oil | 1.6009 | 1.1564 |  |  | Recirculating | 83.9
Gas - dry | 0.06 | 0.06 | 17.0341 | CSP | 2.68 | 2.67 |  | Gas | Dry | 17
Gas - recirculating | 1.62 | 1.17 | 82.9659 | Solar PV | 0.08 | 0.08 |  |  | Recirculating | 82.8
Nuclear - once-through | 242.71 | 1.45 | 34.8333 | Geothermal | 6.8 | 3.42 |  | Nuclear | Once-through | 20.9 | Once-thru | 39.9
Nuclear - recirculating | 6.42 | 3.82 | 65.1667 | [5 empty] | Recirculating | 39.1 | (Seawater)
Oil - dry | 0.06 | 0.06 | 1.2232 |  |  |  |  | Oil | Dry | 1.2
Oil - recirculating | 1.62 | 1.17 | 98.7768 | [5 empty] | Recirculating | 96.9
CSP - recirculating | 2.68 | 2.67 | 100 |  |  |  |  | CSP | Recirculating | 100
CSP - dry | 0.2 | 0.2 | 0 |  |  |  |  | Geothermal | Recirculating | 100
Solar PV - none | 0.08 | 0.08 | 100
Geothermal - Recirculating | 6.8 | 3.42 | 100

## 2014 Consolidated Data
technology | Water withdrawals (liters/(MW*hour)) | Water consumption (liters/(MW*hour))
hard coal | 18213.8462 | 2497.2747
natural gas nonpeaker | 1354.2685 | 980.9218
nuclear | 88727.6833 | 2994.45
hydro | 0 | 0
onshore wind | 0 | 0
solar PV | 80 | 80
solar thermal | 2680 | 2670
biomass | 3163.69 | 1993.96
geothermal | 6800 | 3420
petroleum | 1600.9174 | 1156.422
natural gas peaker | 1354.2685 | 980.9218
lignite | 18213.8462 | 2497.2747
offshore wind | 0 | 0
crude oil | 1600.9174 | 1156.422
heavy or residual fuel oil | 1600.9174 | 1156.422
municipal solid waste | 3163.69 | 1993.96

## WUbPPT-withdrawals
Water withdrawals (liters/(MW*hour))
hard coal | 18213.8462
natural gas nonpeaker | 1354.2685
nuclear | 88727.6833
hydro | 0
onshore wind | 0
solar PV | 80
solar thermal | 2680
biomass | 3163.69
geothermal | 0
petroleum | 1600.9174
natural gas peaker | 1354.2685
lignite | 18213.8462
offshore wind | 0
crude oil | 1600.9174
heavy or residual fuel oil | 1600.9174
municipal solid waste | 3163.69

## WUbPPT-consumption
Water consumption (liters/(MW*hour))
hard coal | 2497.2747
natural gas nonpeaker | 980.9218
nuclear | 2994.45
hydro | 0
onshore wind | 0
solar PV | 80
solar thermal | 2670
biomass | 1993.96
geothermal | 0
petroleum | 1156.422
natural gas peaker | 980.9218
lignite | 2497.2747
offshore wind | 0
crude oil | 1156.422
heavy or residual fuel oil | 1156.422
municipal solid waste | 1993.96